## Repairs in High Trees Area 6&7
St. Martin's Estate - Repairs Report
High Trees Area - Areas 6 & 7
Date of Inspection: 11/12/2014 | Faulty Lights in the High Trees Area (Areas 6 & 7) | [11 empty] | Roofs |  | Other
Location | Internal: Stairwell & Deck lights |  |  | External: Wall Lights |  |  | Garage Lights |  |  | Estate Streetlights
| No. Out | e.g. 5 = flat number | 1st Report | No. Out | f1= front of flat 1 | 1st report | No. Out | 41 = garage no | 1st Report | No. Out | lamposts are numbered | 1st Report | roof door = doors to lift | 1st Report |  | 1st Report
|  | 1/2 = between floors 1&2 |  |  | s1= side of flat 1 | [5 empty] | 2 sets on the estate |  | rooms / water tanks etc.
|  | sw= stairwell, gf= ground floor |  |  | r1= rear of flat 1 | [5 empty] | 711/1 series = Lambeth
Note: |  | stairwell lights in italics & brackets |  |  | sf1 = side nearer front | [5 empty] | MR0263 = Estate lights
Block / location in order |  | e= entrance light (left or right) |  |  | sr1 =side nearer rear | [5 empty] | (shortened to 263)
of walkabout |  |  |  |  | lr = lower , up = upper | [5 empty] | p = pathway (Roycroft)
Block / Street / Area
Gemma Knowles Close
Neil Wates Crescent | [9 empty] | 1 | MR0267 | 16/10/14
Maskall Close (1-36) | 2 | 21, 32 | 2014-11-12 | 1 | f37 | 2014-11-12 | 7 | all garages (57-78) | 28/12/13 | 3 | 263, 264, 266 | 28/12/13
Maskall Close (37-46)
Burnell House (1-15) | 2 | 1, 10, | 16/10/14 | 1 | r4, | 15/07/14
Children's play area
Hart House (1-10) | 1 | 5 | 20/11/14
Hart House (11-20)
Baldwin House (1-24) | 2 | 3, 13, (SW: 1/2) | 2014-11-12
Baldwin House (25-50) | 4 | (SW: gf/1, 1/2, 2/3, 3/4) | 2014-12-05
Saunders House (1-24) | 2 | 5, (SW 5th floor) | 16/10/14
Saunders House (25-39) | 2 | 37, 39, | 20/11/14
Derrick House (1-10)
Derrick House (11-20)
Taylor (1-24) | 17 | (all stairwell), 2e, 1, 5, 9 | 15/07/14
McCormick House (1-10)
McCormick House (11-34) | [9 empty] | 1 | 252, | 15/07/14
Williams House (1-26)
Portland House (1-15)
Roycroft Close (1-36) | 4 | 13, 16, 21, 23, | 20/11/14 | 1 | r4 | 15/07/14 |  |  |  | 2 | 255, 256 | 15/07/14
Roycroft Close (37-46) | 2 | 39, 43, 45 | 20/11/14 | [6 empty] | 2 | P1 (1/5), P2 (2/5) | 20/11/14
Morrison House (1-10)
Morrison House (11-34) | 14 | (all stairwell) 2e, | 15/07/14
Morrison House (35-50) | 2 | 39, 40 | 2014-11-12 | 3 | f37, s37, r37, | 15/07/14
Sheppard House (1-24) | 2 | 3, 6, | 16/10/14 | 2 | s6 (lr), | 15/07/14 |  |  |  | 1 | 194 | 15/07/14
Children's play area
Sheppard House (25-49) |  |  |  | 3 | f28, f29, sf29 (up), | 15/07/14 |  |  |  | 1 | 711/18 | 2014-11-12
Terry House (1-9)
Terry House (10-20)(shops) | [9 empty] | 1 | (front no 14) | 2014-11-12
Upper Tulse Hill (212-220) | [9 empty] | 1 | Library sign, | 2014-11-12
Harbin House (1-10) |  |  |  | 2 | s1, f1, | 16/10/14 | 3 | 30, 27, 24 | 15/07/14 | 1 | 208, | 2014-11-12
Harbin House (11-35)
Brooks House (1-10) | [9 empty] | 3 | 203, 210, 211 | 15/07/14
Children's play area
Godolphin House (1-24) | 2 | 2014-05-17 | 20/11/14 |  |  |  | 6 | all garages (6-23) | 15/07/14 | 1 | opp garage 14 | 15/07/14
Godolphin House (25-34) | 1 | 27 | 2014-11-12 | [6 empty] | 2 | 195, 194 or 193 (unlabeled), | 15/07/14
Totals by type: | 59 |  |  | 13 |  |  | 16 |  |  | 20
Grand total lights out: | 108
Repair Report (updated) ref: