## Repairs in High Trees Area 6&7
St. Martin's Estate - Repairs Report
High Trees Area - Areas 6 & 7
Date of Inspection: 25/9/2014 | [12 empty] | Roofs |  | Other
Location | Internal: Stairwell & Deck lights |  |  | External: Wall Lights |  |  | Garage Lights |  |  | Estate Streetlights
| No. Out | e.g. 5 = flat number | 1st Report | No. Out | f1= front of flat 1 | 1st report | No. Out | 41 = garage no | 1st Report | No. Out | lamposts are numbered | 1st Report | roof door = doors to lift | 1st Report |  | 1st Report
|  | 1/2 = between floors 1&2 |  |  | s1= side of flat 1 | [5 empty] | 2 sets on the estate |  | rooms / water tanks etc.
|  | sw= stairwell, gf= ground floor |  |  | r1= rear of flat 1 | [5 empty] | 711/1 series = Lambeth
Note: |  |  |  |  | sf1 = side nearer front | [5 empty] | MR0263 = Estate lights
Block / location in order |  |  |  |  | sr1 =side nearer rear | [5 empty] | (shortened to 263)
of walkabout |  |  |  |  | e= entrance light | [5 empty] | p = pathway (Roycroft)
Block / Street / Area
Gemma Knowles Close |  |  |  | 2 | e 7-15, e 1-6, | 28/08/14
Neil Wates Crescent | [6 empty] | 2 | 41, 44 | 2013-03-12 | 1 | MR0267
Maskall Close (1-36) | 2 | 13, 17 | 28/08/14 |  |  |  | 7 | all garage lights | 28/12/13 | 5 | 257, 263, 264, 265, 266 | 28/12/13
Maskall Close (37-46) | 2 | SW 2nd & 3rd Floor | 25/09/14
Burnell House (1-15) | 1 | 5, | 25/09/14 | 2 | s4, r4 | 15/07/14
Children's play area
Hart House (1-10)
Hart House (11-20) |  |  |  | 1 | f12 | 28/12/13
Baldwin House (1-24)
Baldwin House (25-50) | 6 | gnd/2, 1/2, 2/3, 3/4 | 2014-12-05
Saunders House (1-24) |  |  |  | 1 | r1 | 2013-03-12
Saunders House (25-39)
Derrick House (1-10)
Derrick House (11-20)
Taylor (1-24) | 14 | all stairwell, | 15/07/14 | [6 empty] | 4 | 249, 250, 251, 253 | 15/07/14
McCormick House (1-10) |  |  |  | 3 | e1, sf1, sr1 | 15/07/14
McCormick House (11-34) | 2 | 30, 31 | 25/09/14 | 1 | s16 | 15/07/14
Williams House (1-26) |  |  |  | 1 | sf1 | 25/09/14
Portland House (1-15) |  |  |  | 1 | r1 | 15/07/14
Roycroft Close (1-36) |  |  |  | 1 | r4 | 15/07/14
Roycroft Close (37-46) |  |  |  | 2 | f38, r38 | 15/07/14 |  |  |  | 5 | 254, 255, 256, p1, p2 | 15/07/14
Morrison House (1-10) |  |  |  | 1 | s1 | 15/07/14
Morrison House (11-34) | 13 | all stairwell, | 15/07/14
Morrison House (35-50) |  |  |  | 4 | f37, s37, r37, | 15/07/14 |  |  |  | 1 | 162 (probably) | 15/07/14
Sheppard House (1-24) |  |  |  | 2 | s6 (2 off) | 15/07/14 |  |  |  | 1 | 194 | 15/07/14
Children's play area
Sheppard House (25-49) |  |  |  | 3 | f28, f29, s29 | 15/07/14
Terry House (1-9) | [14 empty] | great rubbish overflow at bins
Terry House (10-20)(shops) | [9 empty] | 2 | outside flats 14 & 13 | 15/07/14
Upper Tulse Hill (212-220) |  |  |  | 1 | f220 | 25/09/14 |  |  |  | 1 | 204 | 15/07/14
Harbin House (1-10) |  |  |  | 1 | s1 |  | 3 | 30, 27, 24 | 15/07/14 | 1 | 208, | 15/07/14
Harbin House (11-35)
Brooks House (1-10) | [9 empty] | 3 | 203, 210, 211 | 15/07/14
Children's play area
Godolphin House (1-24) |  |  |  | 1 | rs1 | 15/07/14 | 2 | 21, 14 | 15/07/14 | 1 | opp garage 14 | 15/07/14
Godolphin House (25-34) |  |  |  | 1 | f26 | 28/08/14 |  |  |  | 1 | 194 or 193 (un-numbered) | 15/07/14
Totals by type: | 40 |  |  | 29 |  |  | 14 |  |  | 26
Grand total lights out: | 109
Repair Report (updated) ref: